EXAMPLE 2–1 Measuring Atmospheric Pressure with a Barometer

Determine the atmospheric pressure at a location where the barometric reading is 740 mm Hg and the gravitational acceleration is g = 9.81 m/s2.

Assume the temperature of mercury to be 10C, at which its density is

13,570 kg/m3.

EXAMPLE 2–2 Measuring Pressure with a Manometer

A manometer is used to measure the pressure in a tank. The fluid used has

a specific gravity of 0.85, and the manometer column height is 55 cm, as

shown in the following figure. If the local atmospheric pressure is 96 kPa, determine the absolute pressure within the tank.

EXAMPLE 2–3 Measuring Pressure with a Multifluid Manometer

The water in a tank is pressurized by air, and the pressure is measured by a

multifluid manometer as shown in Fig. 1–49. The tank is located on a

mountain at an altitude of 1400 m where the atmospheric pressure is 85.6

kPa. Determine the air pressure in the tank if h1 = 0.1 m, h2 = 0.2 m, and

h3 = 0.35 m. Take the densities of water, oil, and mercury to be 1000

kg/m3, 850 kg/m3, and 13,600 kg/m3, respectively.